## M.I Gen & lines-30-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-08-30
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD, Later on Gt problem from 26.08.2020
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 07:15 (17.04.2020) |  | Tripped
5 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
6 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
7 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
8 | 220kV B.Bageadi-G M Navar#1 | 21:06 (28.08.2020) | 12:30 (30.08.2020) | Tripped
9 | 220kV Ambewadi-NRN#1&#2 | 08:45 (30.08.2020) | 10:37 (30.08.2020) | O/O on L/C
10 | 220kV HAL-Hoody | 11:28 (30.08.2020) | 17:56 (30.08.2020) | O/O on L/C
11 | 220kV Ambewadi-Xeldom | 16:25 (30.08.2020) | 16:49 (30.08.2020) | Tripped
12 | 400kV UPCL-Hassan#2 | 22:34 (30.08.2020) |  | O/O on O/V
13 | 220kV Lingapur-Kushtagi | 23:50 (30.08.2020) | 08:48 (31.08.2020) | Tripped