## M.I Gen & lines-30-08-2022
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2022-08-30
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL:U1 | 13:13 (07.05.2022) |  | O/O LOW STATE DEMAND
2 | UPCL:U2 | 08:32 (08.05.2022) |  | O/O LOW STATE DEMAND
3 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O ASH HANLIN PROB later on RSD from 25.06.2022
4 | RTPS: U7 | 12:07 (24.06.2022) | 11:43 (30.08.2022) | O/O RESERVE SHUTDOWN
5 | YTPS: U1 | 00:05 (07.07.2022) |  | O/O GENERATOR PROTECTION OPERATED
6 | RTPS: U2 | 23:22 (05.08.2022) |  | O/O RESERVE SHUTDOWN
7 | RTPS: U3 | 23:38 (05.08.2022) |  | O/O RESERVE SHUTDOWN
8 | RTPS:U5 | 15:30 (07.08.2022) | 10:06 (30.08.2022) | O/O RESERVE SHUTDOWN
9 | RTPS:U4 | 11:49 (07.08.2022) |  | O/O RESERVE SHUTDOWN
10
11
12
13
14
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | TRIPPED
2 | 400KV-NELAMANGALA - HASSAN-1 | 17:32 (07.05.2022) |  | TRIPPED | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
4 | 400kV Narendra - Guttur #2 line | 12:04 (29.08.2022) |  | O/O ON L/C
5 | 220kV Chitradurga-Thalak line | 11:32 (30.08.2022) | 15:41 (30.08.2022) | O/O ON L/C | CHARGED
6 | 220kV Kanakapura- TK Hally line | 12:18 (30.08.2022) | 12:40 (30.08.2022) | TRIPPED | CHARGED
7 | 220kV Belagum-Chikkodi #1 line | 12:20 (30.08.2022) | 16:46 (30.08.2022) | O/O ON L/C | CHARGED
8 | 220kV NPH-Bidnal line | 14:33 (30.08.2022) | 18:06 (30.08.2022) | O/O ON L/C | CHARGED
9 | 220kV Belagum-AEQUS line | 18:23 (30.08.2022) | 01:36 (31.08.2022) | TRIPPED | CHARGED
10 | 220kV A station Tr-2 | 18:52 (30.08.2022) | 20:37 (30.08.2022) | TRIPPED ON OCR | CHARGED
11
12
13
14
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
14 | 220kV Kaiga-Kadra#1 | 17:51 (26.07.2022) |  | O/O ON P/R
15 | 220kv Harthi-Gadag-1 & 2 | 17:56 (08.08.2022) |  | O/O ON P/R
16 | 220kv R'bennur-Guttur | 16:16 (26.08.2022) |  | O/O ON P/R
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33