## M.I Gen & lines-31-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-31
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U2 | 09:05 (12.03.2021) | 14:54 (31.03.2021) | O/O GAS LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400KV/220KV BTPS-ICT - 1 | 06:19 (16.03.2021) | 16:44 (31.03.2021) | Tripped
5 | 400KV/220KV BTPS-ICT - 2 | 12:25 (27.03.2021) | 16:44 (31.03.2021) | Tripped
6 | 220kV Haveri-Bidnal | 10:56 (27.03.2021) |  | O/o on LC for 2 days
7 | 400KV-BTPS - JINDAL-1 | 12:53 (28.03.2021) |  | O/O on L/C
8 | 400KV-GUTTUR - JINDAL-1 | 12:54 (28.03.2021) |  | O/O on L/C
9 | 400KV-HOODY - DEVANAHALLI-1 | 02:58 (30.03.2021) | 08:37 (31.03.2021) | O/O on L/C
10 | 220kV Kadkola-K'pet | 04:02 (31.03.2021) | 06:47 (31.03.2021) | O/O on L/C
11 | 220kV SMG-SGS#4 | 10:08 (31.03.2021) | 12:39 (31.03.2021) | O/O on L/C
12 | 220kV GTR-Haveri#1 | 12:07 (31.03.2021) | 16:34 (31.03.2021) | Tripped
13 | 220kV NPH-Hubli#3 | 12:08 (31.03.2021) | 12:43 (31.03.2021) | Tripped
14 | 220kV GTR-Haveri#2 | 12:33 (31.03.2021) |  | Tripped
15 | 220kV SMG-S'grama | 13:20 (31.03.2021) | 13:43 (31.03.2021) | Tripped
16 | 220kV Hubli-Sirsi#1 | 13:43 (31.03.2021) |  | Tripped
17 | 400kV GTR-Doni | 15:16 (31.03.2021) |  | Tripped
18 | 220kV GTR-CTD | 17:23 (31.03.2021) | 23:23 (31.03.2021) | Tripped
19
20
21
22
23
24
25
26
27
28
29