## M.I Gen & lines-31-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-08-31
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD, Later on Gt problem from 26.08.2020
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) | 15:53 (17.04.2020) | Tripped
5 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
6 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
7 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
8 | 400kV UPCL-Hassan#2 | 22:34 (30.08.2020) |  | O/O on O/V
9 | 220kV Lingasugur-Sindanoor | 02:00 (31.08.2020) | 02:25 (31.08.2020) | Tripped
10 | 220kV NPH-Bidnal | 09:16 (31.08.2020) | 15:15 (31.08.2020) | O/O ON L/C
11 | 220kV NPH-Hubli#3 | 09:00 (31.08.2020) | 15:18 (31.08.2020) | O/O ON L/C
12 | 220kV Bastipura-Kushalnagar | 09:43 (31.08.2020) | 16:45 (31.08.2020) | O/O ON L/C
13 | 220kV Bidnal-Savadatti | 12:49 (31.08.2020) | 13:25 (31.08.2020) | Tripped
14 | 220kV Ambewadi-Xeldom | 13:01 (31.08.2020) | 13:49 (31.08.2020) | Tripped
15 | 220kV Guttur-Doni#1 | 16:35 (31.08.2020) | 16:51 (31.08.2020) | Tripped
16 | 220kV NPH STATION | 17:11 (31.08.2020) | 17:35 (31.08.2020) | Bus dead
17 | 400kV UPCL-Hassan#1 | 03:11 (31.08.2020) | 07:36 (01.09.2020) | O/O on O/V