## M.I Gen & lines-31-12-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-12-31
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
4 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
6 | RTPS: U1 | 20:21 (08.12.2020) |  | O/O- RSD
7 | RTPS: U4 | 00:39 (09.12.2020) |  | O/O- RSD
8 | RTPS: U2 | 01:50 (09.12.2020) |  | O/O- RSD
9 | RTPS: U7 | 22:47 (08.12.2020) |  | O/O-RSD later on AOH from( 22.12.2020)
10 | RTPS: U5 | 11:41 (10.12.2020) |  | O/O- RSD
11 | BTPS: U1 | 09:11 (12.12.2020) |  | O/O- RSD
12 | BTPS: U3 | 10:15 (25.12.2020) |  | O/O- RSD
13 | BTPS: U2 | 09:29 (26.12.2020) |  | O/O- RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400kV Kaiga-Guttur #2 line | 11:25 (30.12.2020) |  | O/O on L/C
3 | 400kV Gooty-Somanahally line | 17:06 (30.12.2020) |  | O/O on L/C
4 | 400 kV BTPS-RTPS line | 22:38 (30.12.2020) | 17:37 (31.12.2020) | O/O on L/C
5 | 220kV DVG-Guttur # 2 | 10:10 (31.12.2020) |  | o/o on LC
6 | 220kV Madhugiri-Hiriyur | 13:05 (31.12.2020) | 16:32 (31.12.2020) | o/o on LC
7 | 220kV Nar-Kanbargi-Belgaum # 2 | 13:27 (31.12.2020) | 18:11 (31.12.2020) | o/o on LC
8 | 220kV Varahi-Kemar # 2 | 14:33 (31.12.2020) | 17:51 (31.12.2020) | Tripped
9 | 220kV SMG-KB hally | 14:29 (31.12.2020) | 16:25 (31.12.2020) | Tripped
10 | 220kV Kodsalli-NPH # 1 | 17:11 (31.12.2020) | 19:38 (31.12.2020) | Tripped
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29