## M.I Gen & lines-10-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 10-07-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
4 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
5 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
6 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
7 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
8 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
9 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
10 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
11 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
12 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
13 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 220kV EDC-A'STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
7 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) | 10:09 (10.07.2020) | O/O on O/V
8 | 400kV UPCL-Hassan#2 | 22:02 (04.07.2020) |  | O/O on O/V
9 | 400kV Kaiga-Guttur #2 | 17:35 (07.07.2020) |  | O/O on O/V
10 | 400kV UPCL-Hassan#1 | 21:50 (06.07.2020) |  | O/O on O/V
11 | 400kV TGP-NLM | 01:05 (07.07.2020) |  | O/O on O/V
12 | 400kV NLM-Mysore#2 | 22:42 (09.07.2020) |  | O/O on O/V
13 | 400kV NLM-Hassan | 01:06 (10.07.2020) |  | O/O on O/V
14 | 220kV Kadra-Kaiga | 01:30 (10.07.2020) |  | Tripped
15 | 220kVVarahi-Kemar # 1 | 10:33 (10.07.2020) | 13:12 (10.07.2020) | O/O on L/C
16 | 220kV Ambewadi-Narendra #1 | 11:16 (10.07.2020) | 14:58 (10.07.2020) | O/O on L/C
17 | 400kV BPS-Jagalur# 2 | 10:21 (10.07.2020) |  | O/O on O/V