## M.I Gen & lines-02.06.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 02.06.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 12:30 (30.04.2020) | 17:38 (02.06.2020) | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U3 | 10:31 (18.05.2020) |  | O/O - RSD
7 | RTPS: U6 | 09:57 (02.06.2020) |  | TRIPPED
8 | RTPS: U7 | 07:39 (02.06.2020) |  | O/O - RSD
9 | RTPS: U5 | 12:03 (18.05.2020) | 00:46 (02.06.2020) | O/O - RSD
10 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
11 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
12 | RTPS: U4 | 09:20 (19.05.2020) |  | O/O - RSD
13 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Gulbarga-Humnabad | 00:52 (02.06.2020) | 01:15 (02.06.2020) | O/O on L/C
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 400kV NLM-HIRIYUR#2 | 18:07 (01.06.2020) | 08:56 (02.06.2020) | O/O on L/C
10 | 400KV KAIGA-GUUTUR-2 | 17:28 (31.05.2020) |  | O/O on O/V
11 | 400kV NLM-Myssore#2 | 17:59 (31.05.2020) | 09:13 (02.06.2020) | O/O on O/V
12 | 220kV STRP-SMG | 22:34 (02.06.2020) |  | TRIPPED
13 | 220kV SHAHPUR-SHAHBAD | 17:30 (31.05.2020) | 16:30 (02.06.2020) | TRIPPED
14 | 400kV GTR-JSW | 03:05 (01.06.2020) | 16:20 (02.06.2020) | TRIPPED
15 | 220KV VPH-KEMAR#2 | 09:22 (02.06.2020) | 11:30 (02.06.2020) | O/O on L/C
16 | 220kV SEDAM-RTPS#2 | 10:38 (02.06.2020) | 19:58 (02.06.2020) | TRIPPED
17 | 220KV NRN-AMBEVADI#2 | 12:04 (02.06.2020) | 14:34 (02.06.20200 | O/O on L/C
18 | 220kV VAJRAMATTI-MAHALINGAPURA | 17:56 (01.06.2020) | 10:12 (02.06.2020) | TRIPPED
19 | 400KV BPS-JAGALUR#1 | 18:58 (01.06.2020) | 08:25 (02.06.2020) | TRIPPED