## M.I Gen & lines-04-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 04-07-2020
#REF!
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
5 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
6 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
7 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
8 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
9 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
10 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
12 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
13 | YTPS: U2 | 10:56 (04.07.2020) | 16:27 (04.07.2020) | O/O Loss Of Fuel
14 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 220kV EDC-A'STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
7 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) |  | O/O on O/V
8 | ICT-2 @ UPCL | 11:03 (29.06.2020) |  | O/O On L/C
9 | 400kV UPCL-Hassan#2 | 22:02 (04.07.2020) |  | O/O on O/V
10 | 400kV GTR-Kaiga#1 | 23:53 (04.07.2020) |  | O/O on O/V
11 | 400Kv Nelamagala-Hiryur(PGCIL) #2 | 00:46 (04.07.2020) | 08:27 (04.07.2020) | O/O on O/V
12 | 220kV Yarandanahalli- Hosur | 09:30 (04.07.2020) | 18:05 (04.07.2020) | O/O on LC | Maintenanace work
13 | 220kV Shimoga -KB cross line | 10:08 (04.07.2020) | 11:07 (04.07.2020) | O/O on LC | CB SF6 gas refilling work at Shimoga end
14 | 220kV Hoody- ITI line | 10:30 (04.07.2020) | 13:14 (04.07.2020) | O/O on LC | Maintenanace work
15 | 220kV Chitradurga-Guttur | 12:07 (04.07.2020) | 14:16 (04.07.2020) | O/O on LC | Auto reclosure relay testing work at Chitradurga end
16 | 500MVA ICT1@ Nelamangala | 18:55 (04.07.2020) | 21:36 (04.07.2020) | Tripped