## M.I Gen & lines-06-07-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 06-07-2020
#REF!
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
5 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
6 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
7 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
8 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
9 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
10 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
12 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
14 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
15 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 220kV EDC-A'STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
7 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) |  | O/O on O/V
9 | 400kV UPCL-Hassan#2 | 22:02 (04.07.2020) |  | O/O on O/V
10 | 400kV NLMG-TLGP | 00:59 (06.07.2020) | 07:42 (06.07.2020) | Tripped
11 | 400kV NLMG-Mysore #2 | 01:12 (06.07.2020) | 04:41 (06.07.2020) | Tripped
12 | 220kV STRP-SMG | 09:35 (06.07.2020) | 16:51 (06.07.2020) | O/O on LC
13 | 400kV BPS Bus #2 | 12:08 (06.07.2020) | 14:29 (06.07.2020) | O/O on LC
14 | 220kV Kemar-Varahi #2 | 10:41 (06.07.2020) | 13:39 (06.07.2020) | O/O on LC
15 | 220kV NLMG-Puttenahally | 16:13 (06.07.2020) | 18:27 (06.07.2020) | Tripped
16 | 400kV Kaiga-Guttur #2 | 18:43 (06.07.2020) |  | O/O on O/V
17 | 400kV UPCL-Hassan#1 | 21:50 (06.07.2020) |  | O/O on O/V
18 | 220kV SMG-Varahi #3 | 22:11 (06.07.2020) | 02:21 (06.07.2020) | Tripped