## M.I Gen & lines-10.06.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 10.06.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U3 | 10:31 (18.05.2020) | 09:57 (02.06.2020) | O/O - RSD
7 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
8 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
9 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
10 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
11 | RTPS: U4 | 09:20 (19.05.2020) | 12:07 (10.06.2020) | O/O - RSD
12 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
13 | RTPS: U2 | 16:34 (10.06.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
7 | 220kV A'wadi-Narendra #1 | 15:41 (09.06.2020) | 15:37(10.06.2020) | Tripped
8 | 220kV ALIPURA-RAGALPADU | 02:35(10.06.2020) | 09:30 (10.06.2020) | Tripped
9 | 220kV CHIKKODI-KUDACHI | 06:59 (10.06.2020) | 14:54 (10.06.2020) | O/O on L/C
10 | 220kV KEMAR-KAVOOR#3 | 10:59 (10.06.2020) | 18:20(10.06.2020) | Tripped
11 | 315MVA ICT-1@GUTTUR | 11:15 (10.06.2020) |  | O/O onL/C
12 | 220kV AMBEVADI-NRN#2 | 11:34 (10.06.2020) | 15:37(10.06.2020) | O/O onL/C
13 | 220kV AMBEVADI-NPH#2 | 12:20 (10.06.2020) | 12:32(10.06.2020) | O/O onL/C
14 | 220kV EDC-HAL | 14:32 (10.06.2020) | 16:26(10.06.2020) | Tripped
15 | 220kV HOODY-HAL#1&#2 | 14:52(10.06.2020) | 15:22(10.06.2020) | Tripped
16 | 220kV EDC-A STATION | 14:52(10.06.2020) |  | Tripped | CABLE FAULT
17 | 400kV BPS-JAGALUR#1 | 18:23(10.06.2020) |  | O/O on O/V
18 | 400kV BPS-YTPS#1 | 18:43(10.06.2020) |  | O/O on O/V