## M.I Gen & lines-11.06.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 11.06.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U3 | 10:31 (18.05.2020) | 02:21 (11.06.2020) | O/O - RSD
| RTPS: U6 | 09:57 (02.06.2020)
7 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
8 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
9 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
10 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
11 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - Steam Leakage in Turbine
12 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
13 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
7 | 315MVA ICT-1@GUTTUR | 11:15 (10.06.2020) | 18:11 (11.06.2020) | O/O onL/C
8 | 220kV EDC-A STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
9 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) |  | O/O on O/V
10 | 400kV BPS-YTPS#1 | 18:43 (10.06.2020) |  | O/O on O/V
11 | 220kV Kemar-MSEZ#2 | 01:29 (11.06.2020) | 07:11 (11.06.2020) | O/O on O/V
12 | 220kV Kavoor-MSEZ | 01:35 (11.06.2020) | 07:12 (11.06.2020) | O/O on O/V
13 | 400kV NLM-Hiriyur#2 | 02:01 (11.06.2020) | 07:01 (11.06.2020) | Tripped
14 | 220kV UPCL-Kemar#2 | 04:11 (11.06.2020) | 05:01 (11.06.2020) | Tripped
15 | 220kC SGS-Shiralkoppa | 10:47 (11.06.2020) | 12:02 (11.06.2020) | O/O on L/C
16 | 220kV Ambewadi-Xeldom | 13:53 (11.06.2020) | 15:25 (11.06.2020) | O/O on L/C
17 | 220kV Ambewadi-NPH#2 | 14:20 (11.06.2020) | 15:21 (11.06.2020) | O/O on L/C
18 | 220kV Kadkola-Bastipura#2 | 16:15 (11.06.2020) | 16:57 (11.06.2020) | O/O on L/C
19 | 220kV Thalak-C'durga | 16:49 (11.06.2020) |  | Tripped