## M.I Gen & lines-12.06.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 12.06.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U6 | 09:57 (02.06.2020) |  | O/O - RSD
7 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
8 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
9 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
10 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
11 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - Steam Leakage in Turbine
12 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
13 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
7 | 220kV EDC-A STATION | 14:52 (10.06.2020) |  | Tripped | CABLE FAULT
8 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) |  | O/O on O/V
9 | 400kV BPS-YTPS#1 | 18:43 (10.06.2020) | 12:15 (12.06.2020) | O/O on O/V
10 | 220kV Thalak-C'durga | 16:49 (11.06.2020) |  | Tripped
11 | 220kV L'Pura-JSW #2 | 09:12 (12.06.2020) | 14:59 (12.06.2020) | o/o on LC
12 | 220kV Kemar-VPH #3 | 10:09 (12.06.2020) | 12:40 (12.06.2020) | o/o on LC
13 | 220kV S'hally- Yerandahally | 12:25 (12.06.2020) | 17:37 (12.06.2020) | Tripped
14 | 400kV BPS-YTPS # 2 | 12:42 (12.06.2020) | 19:52 (12.06.2020) | o/o on LC
15 | 220kV Hosur -Y'hally # 2 | 13:25 (12.06.2020) | 13:30 (12.06.2020) | o/o on LC
16 | 220kV STRP- Talaguppa | 13:43 (12.06.2020) |  | Tripped
17 | 400kV UPCL-Hassan # 1 | 22:51 (12.06.2020) | 07:29 (13.06.2020) | o/o on OV