## M.I Gen & lines-30-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 30-06-2020
#REF!
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 13:23 (03.06.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
5 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
6 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
7 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
8 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
9 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
10 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
11 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
12 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
7 | 220kV EDC-A'STATION | 14:52 (10.06.2020) |  | Tripped
8 | 400kV BPS-JAGALUR#1 | 18:23 (10.06.2020) |  | O/O on O/V
10 | 400KV-NELAMANGALA - HIRIYUR-2 | 20:59 (25.06.2020) | 08:11 (30.06.2020) | O/O on O/V
11 | 400KV-UPCL - HASSAN-2 | 21:29 (25.06.2020) |  | O/O on O/V
12 | ICT-2 breaker trip @ Dhoni | 11:03 (29.06.2020) |  | O/O on L/C
13 | 400kV NLM-TGP | 01:48 (30.06.2020) | 07:56 (30.06.2020) | O/O on O/V
14 | 400kV RTPS-Munirabad | 02:08 (30.06.2020) | 07:54 (30.06.2020) | O/O on O/V
15 | 220kV GTR-Haveri#2 | 02:55 (30.06.2020) | 12:50 (30.06.2020) | Tripped
16 | 220kV GTR-Haveri#1 | 04:07 (30.06.2020) | 13:12 (30.06.2020) | Tripped
17 | 220kV GTR-RNR | 10:45 (30.06.2020) | 20:00 (30.06.2020) | O/O on L/C
`