## M.I Gen & lines-01-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-01
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U1 | 20:20 (29.12.2023) |  | O/O BOILER TUBE LEAKAGE
3 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220KV Shimogga-Varahi-3 | 12:46 (31.12.2023) | 15:53 (01.01.2024) | TRIPPED
3 | 400KV Nelamangla-Talaguppa | 08:52 (01.01.2024) | 17:25 (01.01.2024) | O/O ON L/C
4 | 220kV Kadkola-K'betta | 11:24 (01.01.2024) | 14:38 (01.01.2024) | O/O ON L/C
5 | 220kV Raichur-Jurala#2 | 11:35 (01.01.2024) | 19:06 (01.01.2024) | O/O ON L/C
6 | 220kV Shiralkoppa-SGS | 13:00 (01.01.2024) | 14:42 (01.01.2024) | TRIPPED
7 | 315MVA ICT-1 @ RTPS | 16:38 (01.01.2024) |  | O/O ON L/C
8 | 400kV Guttur-Hiriyur#1 | 17:29 (01.01.2024) | 19:08 (01.01.2024) | TRIPPED
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50