## M.I Gen & lines-02-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-02
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U1 | 20:20 (29.12.2023) | 15:38 (02.01.2024) | O/O BOILER TUBE LEAKAGE
3 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 315MVA ICT-1 @ RTPS | 16:38 (01.01.2024) | 02:13 (02.01.2024) | O/O ON L/C
3 | 220KV Ambewadi-NPH-2 | 07:17 (02.01.2024) | 13:03 (02.01.2024) | TRIPPED
4 | 220KV Alipur-Ragalpadu | 09:30 (02.01.2024) | 19:39 (02.01.2024) | O/O ON L/C
5 | 220KV Varahi-Shimogga-2 | 10:50 (02.01.2024) | 15:34 (02.01.2024) | O/O ON L/C
6 | 220KV Narendra-Kanbargi-2 | 11:12 (02.01.2024) | 18:30 (02.01.2024) | O/O ON L/C
7 | 220KV Haveri-Guttur-2 | 14:20 (02.01.2024) | 17:41 (02.01.2024) | O/O ON L/C
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Ambewadi-NPH-1 | 07:49 (02.01.2024) | 13:03 (02.01.2024) | O/O ON O/V
2
40
41
42
43
44
45
46
47
48
49
50