## M.I Gen & lines-02-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-02
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U6 | 13:48 (01.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | UPCL: U2 | 00:25 (01.02.2024) |  | O/O MAIN STEAM DRAIN LINE LEAKAGE
4 | BTPS: U3 | 21:14 (02.02.2024) | 03:36 (03.02.2024) | O/O TRIPPED
5 | YTPS: U1 | 23:28 (02.02.2024) |  | O/O TRIPPED ON ELECTRICAL FAULT
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 400kV Kaiga-Guttur#2 | 04:35 (01.02.2024) | 18:30 (02.02.2024) | TRIPPED
5 | 220kV Kushalnagar-Hunsur#2 | 03:43 (02.02.2024) | 07:12 (02.02.2024) | TRIPPED
6 | 400kV Raichur-RTPS#1 | 10:44 (02.02.2024) | 12:01 (02.02.2024) | TRIPPED
7 | 220kV Lingasugur-B'bagewadi#1 | 17:23 (02.02.2024) | 18:32 (02.02.2024) | O/O ON LINE CLEAR
8 | 400kV Kaiga-Guttur#1 | 10:10 (02.02.2024) | 18:22 (02.02.2024) | O/O ON LINE CLEAR
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 10:38 (02.02.2024) | 18:02 (02.02.2024) | O/O ON P/R
2 | 220kV Hebbani-T K Halli#1&2 | 15:08 (31.01.2024) |  | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50