## M.I Gen & lines-02-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-02
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U6 | 07:36 (01.03.2024) |  | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 14:04 (01.03.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
5 | YTPS: U2 | 00:02 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
6 | 220kV Ambewadi-NPH#1&2 | 09:10 (01.03.2024) |  | O/O ON LINE CLEAR | 4DAYS
7 | 400kV Mehboobnagar-RTPS | 13:51 (01.03.2024) | 18:22 (02.03.2024) | O/O ON LINE CLEAR
8 | 220kV SGS-SMG#1 | 05:43 (02.03.2024) | 11:06 (02.03.2024) | TRIPPED
9 | 220kV Sira-G B Nur#1&2 | 06:46 (02.03.2024) | 13:25 (02.03.2024) | O/O ON LINE CLEAR
10 | 220kV Guttur-Davangere#1 | 10:58 (02.03.2024) | 11:06 (02.03.2024) | TRIPPED
11 | 220kV NLM-A'Hally | 11:17 (02.03.2024) | 16:33 (02.03.2024) | O/O ON LINE CLEAR
12 | 220kV Ambewadi-Xeldom | 12:53 (02.03.2024) | 19:53 (02.03.2024) | O/O ON LINE CLEAR
13 | 220kV Ambewadi-Ponda | 12:52 (02.03.2024) | 19:53 (02.03.2024) | O/O ON LINE CLEAR
14 | 220kV SGS-SMG#4 | 13:51 (02.03.2024) | 14:13 (02.03.2024) | TRIPPED
15 | 220kV Jagalur-Chitradurga | 15:10 (02.03.2024) | 18:4 (02.03.2024) | TRIPPED
16 | 220kV Konagala-Chikkodi#1&2 | 13:01 (02.03.2024) | 17:48 (02.03.2024) | O/O ON LINE CLEAR
17 | 220kV Hiriyur-Sira#1&2 | 13:18 (02.03.2024) |  | O/O ON LINE CLEAR
18 | 220kV Hiriyur-Sira#1&2 | 13:25 (02.03.2024) |  | O/O ON LINE CLEAR
19 | 400kV RTPS-Munirabad | 17:49 (02.03.2024) | 18:36 (02.03.2024) | O/O ON LINE CLEAR
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Shimoga-Chickmangalore | 07:21 (02.03.2024) | 21:00 (02.03.2024) | O/O ON POWER REGULATION
2
3
40
41
42
43
44
45
46
47
48
49
50