## M.I Gen & lines-02-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-02
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U1 | 01:16 (02.04.2024) |  | O/O HEAVY LEAKAGE IN CONDENSER LINK
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
2 | 220kV Kalburgi-Nimarga#1&2 | 11:02 (29.03.2024) | 11:35 (02.04.2024) | O/O ON LINE CLEAR | IDLE CHARGED
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 400kV Guttur-BTPS#1 | 09:26 (29.03.2024) | 17:40 (02.04.2024) | O/O ON LINE CLEAR
5 | 220kV Narendra-Bidnal | 06:18 (02.04.2024) | 14:14 (02.04.2024) | TRIPPED
6 | 220kV Ghtaprabha-SWR | 10:40 (02.04.2024) |  | O/O ON LINE CLEAR
7 | 220kV Mallat-Lingasugur | 10:54 (02.04.2024) | 11:15 (02.04.2024) | TRIPPED
8 | 220kV Kalburgi-Shahpur#2 | 11:08 (02.04.2024) | 14:26 (02.04.2024) | TRIPPED
9 | 220kV Narendra-Shiggaon | 10:56 (02.04.2024) | 14:16 (02.04.2024) | TRIPPED
10 | 220kV Dhoni-Halvarthy#1 | 13:39 (02.04.2024) | 17:46 (02.04.2024) | TRIPPED
11 | 220kV Kadur-Dabaspet | 15:20 (02.04.2024) | 15:39 (02.04.2024) | TRIPPED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 20:49 (02.04.2024) | 06:37 (02.04.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50