## M.I Gen & lines-03-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-03
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220kV NRN-Bidnal | 06:59 (03.01.2024) | 13:20 (03.01.2024) | O/O ON L/C
3 | 220kV NRN-Shiggaon | 06:59 (03.01.2024) | 13:20 (03.01.2024) | O/O ON L/C
4 | 220kV NRN-Kanbargi#2 | 10:38 (03.01.2024) | 19:33 (03.01.2024) | O/O ON L/C
5 | 400kV ICT-3 @ Devnahally HW Park | 09:31 (03.01.2024) | 18:31 (03.01.2024) | TRIPPED
6 | 220kV Bidnal-Shiggaon#2 | 06:59 (03.01.2024) | 13:20 (03.01.2024) | TRIPPED
7 | 220kV Somanahally-Mylsandra#2 | 13:32 (03.01.2024) | 15:38 (03.01.2024) | O/O ON L/C
8 | 220kV Kolar-Kolar PGCIL#1 | 13:42 (03.01.2024) | 14:07 (03.01.2024) | TRIPPED
9 | 220kV Haveri-Guttur#2 | 15:04 (03.01.2024) | 19:16 (03.01.2024) | TRIPPED
10 | 220kV Haveri-Shiggaon#1&2 | 15:59 (03.01.2024) | 16:46 (03.01.2024) | O/O ON L/C
11 | 220kV BPS-Jagalur#2 | 15:59 (03.01.2024) | 17:34 (03.01.2024) | TRIPPED
12 | 220kV Guttur-Ranebennur | 14:52 (03.01.2024) | 15:18 (03.01.2024) | TRIPPED
13 | 220kV Guttur-Ranebennur | 17:08 (03.01.2024) | 17:38 (03.01.2024) | TRIPPED
14 | 400kV ICT-1 @ Guttur | 17:44 (03.01.2024) | 18:52 (03.01.2024) | O/O ON L/C
15 | 220kV Guttur-DVG#2 | 18:58 (03.01.2024) | 21:08 (03.01.2024) | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 16:40 (03.01.2024) | 18:13 (03.01.2024) | O/O ON P/R
2
40
41
42
43
44
45
46
47
48
49
50