## M.I Gen & lines-03-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-03
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U6 | 07:36 (01.03.2024) | 23:09 (03.03.2024) | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 14:04 (01.03.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
5 | YTPS: U2 | 00:02 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR | 3DAYS
6 | 220kV Ambewadi-NPH#1&2 | 09:10 (01.03.2024) |  | O/O ON LINE CLEAR | 4DAYS
7 | 220kV Hiriyur-Sira#1&2 | 13:18 (02.03.2024) |  | O/O ON LINE CLEAR
8 | 220kV Hiriyur-Sira#1&2 | 13:25 (02.03.2024) |  | O/O ON LINE CLEAR
9 | ICT-1 @ Hoody | 09:15 (03.03.2024) | 18:58 (03.03.2024) | O/O ON LINE CLEAR
10 | 400kV BPS-Jagalur#2 | 10:15 (03.03.2024) | 13:25 (03.03.2024) | O/O ON LINE CLEAR
11 | 400kV RTPS-BTPS#1 | 21:41 (03.03.2024) | 23:21 (03.03.2024) | O/O ON LINE CLEAR
12 | 220kV NRN-Shiggaon | 06:26 (03.03.2024) | 17:24 (03.03.2024) | TRIPPED
13 | 220kV NRN-M K Huli#2 | 06:55 (03.03.2024) | 14:33 (03.03.2024) | TRIPPED
14 | 220kV Ambewadi-Ponda#2 | 07:59 (03.03.2024) | 11:32 (03.03.2024) | O/O ON LINE CLEAR
15 | 220kV NRN-M K Hubli#1 | 13:11 (03.03.2024) | 14:36 (03.03.2024) | O/O ON LINE CLEAR
16 | 220kV Varahi-SMG#3 | 13:34 (03.03.2024) | 14:29 (03.03.2024) | TRIPPED
17 | 220kV NRN-Bidnal | 14:31 (03.03.2024) | 17:24 (03.03.2024) | TRIPPED
18 | 220kV K B Cross-A'hally | 16:43 (03.03.2024) | 19:29 (03.03.2024) | O/O ON LINE CLEAR
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Shimoga-Chickmangalore | 10:42 (03.03.2024) | 20:00 (03.03.2024) | O/O ON POWER REGULATION
2
3
40
41
42
43
44
45
46
47
48
49
50