## M.I Gen & lines-03-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-03
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U1 | 01:16 (02.04.2024) |  | O/O HEAVY LEAKAGE IN CONDENSER LINK
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
2 | 220kV Ghtaprabha-SWR | 10:40 (02.04.2024) | 18:40 (02.04.2024) | O/O ON LINE CLEAR
3 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
4 | 220kV Shobha-Dreams-Somanhally | 09:06 (03.04.2024) | 12:35 (03.04.2024) | TRIPPED
5 | 400kV JSW-BPS#4 | 10:15 (03.04.2024) | 12:44 (03.04.2024) | O/O ON LINE CLEAR
6 | 400kV Bidadi-Nelamangala#2 | 11:34 (03.04.2024) | 13:39 (03.04.2024) | O/O ON LINE CLEAR
7 | 400kV JSW-BPS#3 | 15:15 (03.04.2024) | 16:41 (03.04.2024) | O/O ON LINE CLEAR
8 | 220kV SGS-SMG#4 | 16:50 (03.04.2024) | 19:46 (03.04.2024) | O/O ON LINE CLEAR
9 | 400kV ICT-2 @ Gouripura | 17:29 (03.04.2024) | 19:47 (03.04.2024) | O/O ON LINE CLEAR
10 | 220kV Davanagere-Honnalli#1&2 | 19:00 (03.04.2024) | 20:02 (03.04.2024) | TRIPPED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 20:45 (03.04.2024) | 07:21 (04.04.2024) | O/O ON P/R
2 | 220kV Kodasally-NPH#1&2 | 15:28 (03.04.2024) |  | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50