## M.I Gen & lines-04-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-04
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U8 | 18:25 (04.01.2024) | 21:08 (04.01.2024) | O/O AUXILLARY POWER FAILURE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220kV SMG-K B Cross#1 | 05:56 (04.01.2024) | 06:25 (04.01.2024) | TRIPPED
3 | 220kV Narendra-M K Hubli#1 | 10:07 (04.01.2024) | 17:28 (04.01.2024) | O/O ON L/C
4 | 220kV Kadur-Dabaspet | 09:54 (04.01.2024) | 13:32 (04.01.2024) | O/O ON L/C
5 | 220kV Arasikere-Nittur | 09:55 (04.01.2024) | 14:49 (04.01.2024) | O/O ON L/C
6 | 400kV BTPS-Guttur | 11:07 (04.01.2024) | 11:55 (04.01.2024) | O/O ON L/C
7 | 220kV Hoody-Malur | 12:47 (04.01.2024) | 14:21 (04.01.2024) | O/O ON L/C
8 | 220kV Narendra-Kanbargi#2 | 10:18 (04.01.2024) | 18:58 (04.01.2024) | O/O ON L/C
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 16:40 (03.01.2024) | 18:13 (03.01.2024) | O/O ON P/R
2
40
41
42
43
44
45
46
47
48
49
50