## M.I Gen & lines-04-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-04
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U2 | 00:25 (01.02.2024) |  | O/O MAIN STEAM DRAIN LINE LEAKAGE
3 | YTPS: U2 | 19:15 (03.02.2024) |  | O/O BOILER TUBE LEAKAGE
4 | YTPS: U1 | 23:28 (02.02.2024) | 04:28 (04.02.2024) | O/O TRIPPED ON ELECTRICAL FAULT
5 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 400kV Hoody-Devanahally H W Park#1 | 09:06 (04.02.2024) | 12:46 (04.02.2024) | O/O ON LINE CLEAR
5 | 500MVA ICT-1 @ Nelamanagala | 10:44 (04.02.2024) | 19:36 (04.02.2024) | O/O ON LINE CLEAR
6 | 220kV Tumkur-A'hally#1&2 | 18:21 (04.02.2024) | 20:34 (04.02.2024) | O/O ON LINE CLEAR
7 | 220kV Tumkur-A'hally#1&2 | 16:50 (04.02.2024) | 18:07 (04.02.2024) | O/O ON LINE CLEAR
8 | 220kV Nelamanagala-Sahakarnagar | 10:13 (04.02.2024) | 20:44 (04.02.2024) | O/O ON LINE CLEAR
9 | 220kV Nelamanagala-D B Pura#1&2 | 10:15 (04.02.2024) | 17:17 (04.02.2024) | O/O ON LINE CLEAR
10 | 220kV Nelamanagala-D B Pura#1&2 | 10:15 (04.02.2024) | 17:52 (04.02.2024) | O/O ON LINE CLEAR
11 | 220kV Nelamangala-Nittur | 10:28 (04.02.2024) | 16:30 (04.02.2024) | O/O ON LINE CLEAR
12 | 220kV NRS-A'station | 11:42 (04.02.2024) | 13:14 (04.02.2024) | O/O ON LINE CLEAR
13 | 220kV Mylsandra-Somanhally | 15:35 (04.02.2024) | 20:01 (04.02.2024) | TRIPPED
14 | 220kV Mylsandra-Jigani | 16:43 (04.02.2024) | 18:52 (04.02.2024) | O/O ON LINE CLEAR
15 | 220kV Shimoga-A'hally | 16:20 (04.02.2024) | 20:37 (04.02.2024) | O/O ON LINE CLEAR
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 09:02 (04.02.2024) | 19:05 (04.02.2024) | O/O ON P/R
2 | 220kV Hebbani-T K Halli#1&2 | 15:08 (04.02.2024) |  | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50