## M.I Gen & lines-04-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-04
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U1 | 01:16 (02.04.2024) |  | O/O HEAVY LEAKAGE IN CONDENSER LINK
3 | BTPS: U2 | 11:30 (04.04.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Narendra-Shiggaon | 10:51 (04.04.2024) | 16:10 (04.04.2024) | O/O ON LINE CLEAR
4 | 220kV Narendra-Bidnal | 10:50 (04.04.2024) | 16:11 (04.04.2024) | O/O ON LINE CLEAR
5 | 220kV Ambewadi-Ponda#1 | 11:10 (04.04.2024) | 11:39 (04.04.2024) | TRIPPED
6 | 400kV RTPS-Guddadahalli | 11:56 (04.04.2024) | 14:38 (04.04.2024) | O/O ON LINE CLEAR
7 | 400kV Kolar-Hoody#2 | 12:19 (04.04.2024) | 16:38 (04.04.2024) | O/O ON LINE CLEAR
8 | 220kV SGS-S'koppa | 13:05 (04.04.2024) | 16:39 (04.04.2024) | TRIPPED
9 | 220kV Lingapura-Gangavathy#1 | 12:58 (04.04.2024) | 15:32 (04.04.2024) | TRIPPED
10 | 220kV Lingapura-Gangavathy#2 | 12:58 (04.04.2024) | 16:29 (04.04.2024) | TRIPPED
11 | 400kV Guttur-Kaiga#1 | 14:03 (04.04.2024) | 20:04 (04.04.2024) | TRIPPED
12 | 220kV Somanahally-Khodays | 14:29 (04.04.2024) | 14:44 (04.04.2024) | O/O ON LINE CLEAR
13 | 220kV Nelamangala-Nittur | 16:18 (04.04.2024) | 18:29 (04.04.2024) | O/O ON LINE CLEAR
14 | 220kV Hubli-Sirsi#1 | 16:03 (04.04.2024) | 19:56 (04.04.2024) | TRIPPED
15 | 220kV SMG-Chickmangalore#1 | 16:43 (04.04.2024) | 19:54 (04.04.2024) | O/O ON LINE CLEAR
16 | 400kV Guttur-Kaiga#2 | 19:51 (04.04.2024) |  | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 20:36 (04.04.2024) |  | O/O ON P/R
2 | 220kV Kodasally-NPH#1&2 | 13:10 (04.04.2024) |  | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50