## M.I Gen & lines-05-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-05
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U2 | 00:25 (01.02.2024) |  | O/O MAIN STEAM DRAIN LINE LEAKAGE
3 | YTPS: U2 | 19:15 (03.02.2024) |  | O/O BOILER TUBE LEAKAGE
4 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U5 | 16:38 (05.02.2024) | 18:26 (05.02.2024) | O/O FLAME FAILURE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 400kV Guttur-Hiriyur#1 | 11:18 (05.02.2024) | 19:11 (05.02.2024) | O/O ON LINE CLEAR
5 | 220kV Madhugiri-G B Noor | 13:01 (05.02.2024) | 16:07 (05.02.2024) | O/O ON LINE CLEAR
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 09:09 (05.02.2024) | 18:13 (05.02.2024) | O/O ON P/R
2 | 220kV Kadkola-K'betta | 21:22 (05.02.2024) | 01:28 (06.02.2024) | O/O ON P/R
3 | 220kV Hebbani-T K Halli#1&2 | 15:08 (04.02.2024) |  | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50