## M.I Gen & lines-05-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-05
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | UPCL: U1 | 14:04 (01.03.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
4 | YTPS: U2 | 00:02 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR |  | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR |  | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR |  | 3DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR |  | 3DAYS
6 | 220kV Ambewadi-NPH#1&2 | 09:10 (01.03.2024) |  | O/O ON LINE CLEAR |  | 4DAYS
7 | 220kV Hiriyur-Sira#1&2 | 13:18 (02.03.2024) |  | O/O ON LINE CLEAR
8 | 220kV Hiriyur-Sira#1&2 | 13:25 (02.03.2024) |  | O/O ON LINE CLEAR
9 | 220kV Kaiga-Kadra | 08:45 (04.03.2024) | 23:30 (05.03.2024) | O/O ON LINE CLEAR | O/O on L/C
10 | 220Kv Neelgunda-Guttur | 06:38 (05.03.2024) | 07:18 (05.03.2024) | TRIPPED | O/O on L/C
11 | 220kV SMG-Honnali#2 | 10:11 (05.03.2024) | 13:48 (05.03.2024) | O/O ON LINE CLEAR
12 | 220kV Subramanyapura-Peenya | 10:34 (05.03.2024) | 12:40 (05.03.2024) | O/O ON LINE CLEAR
13 | 220kV Kemar-Bajpe#1 | 10:45 (05.03.2024) | 18:41 (05.03.2024) | O/O ON LINE CLEAR
14 | 400/220kV ICT-1 @ Doni | 10:48 (05.03.2024) | 16:45 (05.03.2024) | O/O ON LINE CLEAR
15 | 220kV Narendra-Shiggaon | 11:33 (05.03.2024) | 15:05 (05.03.2024) | O/O ON LINE CLEAR
16 | 220kV Narendra-Belgaum | 12:55 (05.03.2024) | 13:34 (05.03.2024) | TRIPPED
17 | 400kV Nelamangala-Shantigrama | 13:25 (05.03.2024) | 22:14 (05.03.2024) | O/O ON LINE CLEAR
18 | 220kV Savadatti-M L Pura | 14:36 (05.03.2024) | 16:24 (05.03.2024) | TRIPPED
19 | 220kV NRN-Kanbargi#1 | 14:45 (05.03.2024) | 17:54 (05.03.2024) | TRIPPED
20 | 220kV Lingapur-Gangavathi#1 | 15:40 (05.03.2024) | 18:21 (05.03.2024) | O/O ON LINE CLEAR
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV SMG-Chickmangalore | 08:20 (05.03.2024) | 18:08 (05.03.2024) | O/O ON POWER REGULATION
2 | 220kV Kadkola-K'betta | 20:46 (05.03.2024) | 23:30 (05.03.2024) | O/O ON POWER REGULATION
3
40
41
42
43
44
45
46
47
48
49
50