## M.I Gen & lines-05-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-05
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U1 | 01:16 (02.04.2024) | 22:54 (05.04.2024) | O/O HEAVY LEAKAGE IN CONDENSER LINK
3 | BTPS: U2 | 11:30 (04.04.2024) | 07:55 (06.04.2024) | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 400kV Guttur-Kaiga#2 | 19:51 (04.04.2024) | 18:55 (05.04.2024) | TRIPPED
4 | 220kV Shimoga-Sharavathy#1 | 01:45 (05.04.2024) | 14:23 (05.04.2024) | TRIPPED
5 | 220kV Gulbarga-Shahbad | 09:48 (05.04.2024) | 11:36 (05.04.2024) | TRIPPED
6 | 220kV Lingasugur-RTPS | 11:47 (05.04.2024) | 12:30 (05.04.2024) | TRIPPED
7 | 220kV Kadkola-Hootagally | 13:18 (05.04.2024) | 17:0 (05.04.2024) | TRIPPED
8 | 220kV Hubli-Nanrendra#2 | 14:15 (05.04.2024) | 17:05 (05.04.2024) | TRIPPED
9 | 220kV B'bagewadi-Lingasagur#2 | 15:42 (05.04.2024) | 15:56 (05.04.2024) | TRIPPED
10 | 220kv Shantigrama- CR PATNA(yachenahalli)) | 17:17 (05.04.2024) | 20:51 (05.04.2024) | O/O ON LINE CLEAR
11 | 220kv Vajramatti- Energon solar line | 20:40 (05.04.2024) |  | O/O ON LINE CLEAR
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K'pet | 20:36 (04.04.2024) | 07:45 (05.04.2024) | O/O ON P/R
2 | 220kV Kodasally-NPH#1&2 | 13:10 (04.04.2024) |  | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50