## M.I Gen & lines-06-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-06
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U5 | 18:01 (06.01.2024) |  | O/O TRIPPED ON PA FAN VIBRATION
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220KV RTPS-Ramasamudra | 09:40 (06.01.2024) | 20:19 (06.01.2024) | O/O ON L/C
3 | 400KV BPS-Pavagada-1 | 09:23 (06.01.2024) | 18:47 (06.01.2024) | O/O ON L/C
4 | 220KV Shimogga-SGS-3&4 (S3&S4) | 13:00 (06.01.2024) |  | O/O ON L/C | 2DAYS
5 | 220KV Shimogga-SGS-3&4 (S3&S4) | 10:41 (06.01.2024) |  | O/O ON L/C | 2DAYS
6 | 500MVA ICT-2@ Mylasandra | 10:56 (06.01.2024) | 15:02 (06.01.2024) | O/O ON L/C
7 | 220KV Narendra-Kanbargi-2 | 10:59 (06.01.2024) | 19:03 (06.01.2024) | O/O ON L/C
8 | 220KV NPH-Hubli-1 | 11:41 (06.01.2024) | 13:37 (06.01.2024) | O/O ON L/C
9 | 220KV Mallat-RTPS | 12:42 (06.01.2024) | 15:49 (06.01.2024) | O/O ON L/C
10 | 220KV Mallat-Lingasugur | 16:24 (06.01.2024) | 19:45 (06.01.2024) | O/O ON L/C
11 | 220KV Narendra-Hubli-1 | 16:26 (06.01.2024) | 20:00 (06.01.2024) | TRIPPED
12 | 220KV Narendra-Hubli-1 | 20:08 (06.01.2024) |  | TRIPPED
13 | 220KV RTPS-Shahpur-1 | 22:17 (06.01.2024) | 22:25 (06.01.2024) | TRIPPED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50