## M.I Gen & lines-06-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-06
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U2 | 00:25 (01.02.2024) |  | O/O MAIN STEAM DRAIN LINE LEAKAGE
3 | YTPS: U2 | 19:15 (03.02.2024) | 00:59 (07.02.2024) | O/O BOILER TUBE LEAKAGE
4 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Hubli-Bidnal#1 | 10:38 (06.02.2024) | 16:30 (06.02.2024) | O/O ON LINE CLEAR
5 | 220kV Hubli-Bidnal#2 | 13:14 (06.02.2024) | 15:23 (06.02.2024) | TRIPPED
6 | 220kV Somanhally-Bidadi#1 | 11:24 (06.02.2024) | 14:15 (06.02.2024) | O/O ON LINE CLEAR
7 | 220kV Tubinkere-Mysore | 14:32 (06.02.2024) | 18:39 (06.02.2024) | TRIPPED
8 | 400kV UPCL-Hebbanahalli#1 | 13:34 (06.02.2024) | 16:16 (06.02.2024) | TRIPPED
9 | 400kV Nelamangala-Hiriyur#1&2 | 13:27 (06.02.2024) | 16:12 (06.02.2024) | TRIPPED
10 | 400kV Nelamangala-Hiriyur#1&2 | 13:27 (06.02.2024) | 13:41 (06.02.2024) | TRIPPED
11 | 220kV SGS-Shimoga#4 | 13:59 (06.02.2024) | 16:21(06.02.2024) | TRIPPED
12 | 220kV Hebbani-Madhuvanahally | 12:38 (06.02.2024) | 13:41(06.02.2024) | O/O ON LINE CLEAR
13 | 220kV S'hally-Shobha dreams | 15:25 (06.02.2024) | 16:31(06.02.2024) | TRIPPED
14 | 220kV VPH-Shimoga#1 | 16:58 (06.02.2024) | 21:32(06.02.2024) | TRIPPED
15 | 220kV Bidadi-S'hally | 15:21 (06.02.2024) |  | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 09:10 (06.02.2024) | 17:15 (06.02.2024) | O/O ON P/R
2 | 220kV Kadkola-K'betta | 21:57 (06.02.2024) | 06:14 (07.02.2024) | O/O ON P/R
3 | 220kV Hebbani-T K Halli#1&2 | 15:08 (04.02.2024) |  | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50