## M.I Gen & lines-06-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-06
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | BTPS: U2 | 11:30 (04.04.2024) | 07:55 (06.04.2024) | O/O BOILER TUBE LEAKAGE
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kv Vajramatti- Energon solar line | 20:40 (05.04.2024) |  | O/O ON LINE CLEAR
4 | 400kV BPS-Pavagada line 2 | 09:04 (06.04.2024) | 17:58 (06.04.2024) | O/O ON LINE CLEAR
5 | 400kV BTPS-Hiriyur line 2 | 09:54 (06.04.2024) | 22:44 (06.04.2024) | O/O ON LINE CLEAR
6 | 220kV A.wadi-Xeldem (Line 1) | 12:08 (06.04.2024) | 18:03 (06.04.2024) | TRIPPED
7 | 220kV Y'halli-Mylasandra line 3 | 10:03 (06.04.2024) | 18:46 (06.04.2024) | O/O ON LINE CLEAR
8 | 220kV Shahpur-Kappanoor | 10:55 (06.04.2024) | 13:05 (06.04.2024) | O/O ON LINE CLEAR
9 | 220kV Shahpur-Shahbad | 11:06 (06.04.2024) | 13:13 (06.04.2024) | O/O ON LINE CLEAR
10 | 220kV Guttur-Haveri line 2 | 11:14 (06.04.2024) | 13:45 (06.04.2024) | O/O ON LINE CLEAR
11 | 400kV Kolar-Hoody line 1 | 11:22 (06.04.2024) | 14:55 (06.04.2024) | O/O ON E/LINE CLEAR
12 | 220kV L'sugur-Bbwadi line 2 | 11:25 (06.04.2024) | 14:58 (06.04.2024) | TRIPPED
13 | 400kV DHP-Pavagada line 2 | 13:47 (06.04.2024) | 14:58 (06.04.2024) | TRIPPED
14 | 220kV Hiriyur-Enercon | 14:09(06.04.2024) | 18:21 (06.04.2024) | TRIPPED
15 | 220kV DBPura-Begur | 15:01(06.04.2024) | 16:14 (06.04.2024) | TRIPPED
16 | 220kV SGS-T'guppa line 1 | 16:56 (06.04.2024) |  | TRIPPED
17 | ICT 1 @ Talaguppa | 15:49 (06.04.2024) | 16:18 (06.04.2024) | TRIPPED
18 | 220kV UPCL-Kemar lines 1 & 2 | 18:19 (06.04.2024) | 18:34 (06.04.2024) | TRIPPED
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadakola-K'betta | 20:51 (06.04.2024) | 07:07 (06.04.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50