## M.I Gen & lines-07-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-07
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U5 | 18:01 (06.01.2024) | 01:24 (08.01.2024) | O/O TRIPPED ON PA FAN VIBRATION
4 | RTPS: U3 | 01:07 (07.01.2024) |  | O/O VACCUM LOW
5 | RTPS: U5 | 02:20 (08.01.2024) |  | O/O
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220KV Narendra-Hubli-1 | 20:08 (06.01.2024) |  | TRIPPED
3 | 220KV Shimogga-SGS-3&4 (S3&S4) | 13:00 (06.01.2024) | 20:26 (07.01.2024) | O/O ON L/C | 2DAYS
4 | 220KV Shimogga-SGS-3&4 (S3&S4) | 10:41 (06.01.2024) | 20:26 (07.01.2024) | O/O ON L/C | 2DAYS
5 | 220KV Kadakola-Bastpur-2 | 07:19 (07.01.2024) | 12:55 (07.01.2024) | O/O ON L/C
6 | 400KV BPS-Pavgada | 07:53 (07.01.2024) | 15:58 (07.01.2024) | O/O ON L/C
7 | 220KV Narendra-Kanbargi-2 | 10:33 (07.01.2024) | 19:05 (07.01.2024) | O/O ON L/C
8 | 220KV Somanahally-Khodays | 10:50 (07.01.2024) | 15:36 (07.01.2024) | O/O ON L/C
9 | 220KV Somanahally-Mylasandra-2 | 11:11 (07.01.2024) | 15:55 (07.01.2024) | O/O ON L/C
10 | 220KV Kadakola-K Pet | 12:42 (07.01.2024) | 15:07 (07.01.2024) | TRIPPED
11 | 220KV Mylasandra-Jiggani | 15:03 (07.01.2024) | 16:21 (07.01.2024) | O/O ON L/C
12 | 220KV Narendra-Hubi-2 | 16:06 (07.01.2024) | 18:55 (07.01.2024) | O/O ON L/C
13 | 220KV Shimogga-SGS-4 (S4) | 20:48 (07.01.2024) |  | TRIPPED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50