## M.I Gen & lines-07-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-07
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | UPCL: U2 | 00:25 (01.02.2024) | 13:22 (07.02.2024) | O/O MAIN STEAM DRAIN LINE LEAKAGE
3 | YTPS: U2 | 19:15 (03.02.2024) | 00:59 (07.02.2024) | O/O BOILER TUBE LEAKAGE
4 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
5 | YTPS: U2 | 11:00 (07.02.2024) | 19:40 (07.02.2024) | O/O BOILER SIDE PROBLEM
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Bidadi-S'hally | 15:21 (06.02.2024) | 09:24 (07.02.2024) | TRIPPED
5 | 220kV Hassan-Chickmangaluru | 03:58 (07.02.2024) | 04:34 (07.02.2024) | TRIPPED
6 | 220kV Guttur-Haveri#1&2 | 10:52 (07.02.2024) | 21:51 (07.02.2024) | O/O ON LINE CLEAR
7 | 220kV Guttur-Haveri#1&2 | 10:57 (07.02.2024) | 21:51 (07.02.2024) | O/O ON LINE CLEAR
8 | 400kV BPS-Jagalur#1 | 11:33 (07.02.2024) | 18:06 (07.02.2024) | O/O ON LINE CLEAR
9 | 220kV Guttur-Neelgunda | 11:06 (07.02.2024) | 21:47 (07.02.2024) | O/O ON LINE CLEAR
10 | 220kV Sirsi-Hubli | 12:10 (07.02.2024) | 18:04 (07.02.2024) | O/O ON LINE CLEAR
11 | 400kV ICT-1 @ Guttur | 11:09 (07.02.2024) | 21:44 (07.02.2024) | O/O ON LINE CLEAR
12 | 220kV Ambewadi-NPH#2 | 13:03 (07.02.2024) | 13:14 (07.02.2024) | O/O ON LINE CLEAR
13 | 220kV Chintamani-Kolar#1 | 13:14 (07.02.2024) | 14:15 (07.02.2024) | TRIPPED
14 | 220kV Tubinkere-C'patna | 13:20 (07.02.2024) | 14:35 (07.02.2024) | TRIPPED
15 | 220kV Tubinkere-Kotipura | 13:20 (07.02.2024) | 16:26 (07.02.2024) | TRIPPED
16 | 220kV Ranebennur-Guttur | 10:45 (07.02.2024) | 21:47 (07.02.2024) | O/O ON LINE CLEAR
17 | 220kV Bidadi-Kotipura | 13:20 (07.02.2024) | 14:48 (07.02.2024) | TRIPPED
18 | 220kV Honnali-SMG#1 | 13:38 (07.02.2024) | 18:18 (07.02.2024) | TRIPPED
19 | 400kV Hebbanahalli ICT | 15:36 (07.02.2024) | 16:35 (07.02.2024) | TRIPPED
20 | 400kV Mylsandra-Kolar | 17:19 (07.02.2024) | 20:03 (07.02.2024) | TRIPPED
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 09:12 (07.02.2024) | 18:00 (07.02.2024) | O/O ON P/R
2 | 220kV Kadkola-K'betta | 21:54 (07.02.2024) | 06:25 (08.02.2024) | O/O ON P/R
3 | 220kV Hebbani-T K Halli#1&2 | 15:08 (04.02.2024) | 10:50 (07.02.2024) | O/O ON P/R
40
41
42
43
44
45
46
47
48
49
50