## M.I Gen & lines-07-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-07
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | UPCL: U1 | 14:04 (01.03.2024) |  | O/O DUE TO CLINKER FORMATION IN BOILER
4 | YTPS: U2 | 00:02 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
5 | YTPS: U1 | 20:15 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U5 | 06:40 (07.03.2024) | 08:21 (07.03.2024) | O/O FLAME FAILURE
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR |  | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR |  | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR |  | 6DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) |  | O/O ON LINE CLEAR |  | 6DAYS
6 | 220kV SMG-STRP | 22:11 (06.03.2024) | 18:56 (07.03.2024) | TRIPPED
7 | 220kV Hiriyur-Sira#1&2 | 13:18 (02.03.2024) |  | O/O ON LINE CLEAR
8 | 220kV Hiriyur-Sira#1&2 | 13:25 (02.03.2024) |  | O/O ON LINE CLEAR
9 | 220kV Kaiga-Kodasally#1 | 09:10 (06.03.2024) | 22:23 (07.03.2024) | O/O ON LINE CLEAR | O/O on L/C
10 | 220kV Madhugiri-Pavagada#1&2 | 06:15 (07.03.2024) | 10:00 (07.03.2024) | O/O ON LINE CLEAR
11 | 220Kv Sira-G B Noor#1&2 | 06:28 (07.03.2024) | 10:05 (07.03.2024) | O/O ON LINE CLEAR
12 | 400kV RTPS-BTPS | 09:34 (07.03.2024) | 15:10 (07.03.2024) | O/O ON LINE CLEAR
13 | 220kV Varahi-SMG#3 | 11:37 (07.03.2024) | 16:08 (07.03.2024) | O/O ON LINE CLEAR
14 | 220kV SMG-S'koppa | 14:10 (07.03.2024) | 18:32 (07.03.2024) | O/O ON LINE CLEAR
15 | 220kV Lingapur-Gangavathi | 14:03 (07.03.2024) | 18:28 (07.03.2024) | O/O ON LINE CLEAR
16 | 220kV Puttenhalli-YCCP#2 | 21:36 (07.03.2024) |  | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50