## M.I Gen & lines-08-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-08
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
3 | RTPS: U3 | 01:07 (07.01.2024) | 03:19 (08.01.2024) | O/O VACCUM LOW
4 | RTPS: U5 | 02:20 (08.01.2024) | 03:42 (08.01.2024) | O/O COMPRESSOR SWITCH PROBLEM
5 | BTPS: U3 | 15:58 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U6 | 14:09 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 10:18 (08.01.2024) | 12:34 (08.01.2024) | O/O I & C COMMUNICATION FAILURE
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220KV Narendra-Hubli-1 | 20:08 (06.01.2024) | 15:53 (08.01.2024) | TRIPPED
3 | 220KV Shimogga-SGS-4 (S4) | 20:48 (07.01.2024) | 10:34 (08.01.2024) | TRIPPED
4 | 220kV NRN-Hubli#2 | 10:10 (08.01.2024) | 15:53 (08.01.2024) | O/O ON L/C
5 | 220kV NRN-Kanbargi#2 | 10:24 (08.01.2024) | 18:31 (08.01.2024) | O/O ON L/C
6 | 220kV Tubinkere-Channapatna | 13:34 (08.01.2024) |  | TRIPPED
7 | 400kV Guttur-BTPS | 19:32 (08.01.2024) |  | TRIPPED
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50