## M.I Gen & lines-08-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-08
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | YTPS: U2 | 07:50 (08.02.2024) | 15:26 (08.02.2024) | O/O CONTROL FEED PUMP TEMP PROBLEM
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 220kV Lingasugur-RTPS#2 | 02:42 (08.02.2024) | 02:58 (08.02.2024) | TRIPPED
5 | 400kV Narendra-Guttur#2 | 08:22 (08.02.2024) | 19:30 (08.02.2024) | O/O ON LINE CLEAR
6 | 400kV BPS-YTPS#2 | 09:33 (08.02.2024) | 18:04 (08.02.2024) | O/O ON LINE CLEAR
7 | 220kV Sirsi-Hubli#1&2 | 10:19 (08.02.2024) | 16:22 (08.02.2024) | O/O ON LINE CLEAR
8 | 220kV Chikkodi-Kudachi | 10:38 (08.02.2024) | 11:58 (08.02.2024) | O/O ON LINE CLEAR
9 | 400kV RTPS-Munirabad | 13:36 (08.02.2024) | 16:01 (08.02.2024) | O/O ON LINE CLEAR
10 | 220kV Munirabad-Gopalpura | 13:12 (08.02.2024) | 21:00 (08.02.2024) | O/O ON LINE CLEAR
11 | 220kV Guttur-Ranebennur | 23:31 (08.02.2024) |  | TRIPPED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Chickmangaluru-Shimoga | 09:08 (07.02.2024) | 19:01 (07.02.2024) | O/O ON P/R
2 | 220kV Kadkola-K'betta | 21:48 (07.02.2024) | 07:06 (09.02.2024) | O/O ON P/R
3
40
41
42
43
44
45
46
47
48
49
50