## M.I Gen & lines-09-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-09
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 15:58 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U6 | 14:09 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
4 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220kV Tubinkere-Channapatna | 13:34 (08.01.2024) | 15:01 (09.01.2024) | TRIPPED
3 | 400kV Guttur-BTPS | 19:32 (08.01.2024) | 15:32 (09.01.2024) | TRIPPED
4 | 220KV NPH-Hubli-1 | 06:57 (09.01.2024) | 15:19 (09.01.2024) | TRIPPED
5 | 220KV Sedam-Tandur | 10:12 (09.01.2024) |  | O/O ON L/C
6 | 500MVA ICT-1 @Jagalur | 10:19 (09.01.2024) | 16:52 (09.01.2024) | O/O ON L/C
7 | 220KV Thallak-Jagalur-1 | 10:46 (09.01.2024) | 18:21 (09.01.2024) | O/O ON L/C
8 | 220KV Tubinkere-Kothipura-2 | 10:50 (09.01.2024) | 15:01 (09.01.2024) | O/O ON L/C
9 | 220KV Kemar-Bajpe-1 | 11:28 (09.01.2024) | 12:29 (09.01.2024) | O/O ON L/C
10 | 400KV Nelamangla-Yelahanka | 11:58 (09.01.2024) | 16:57 (09.01.2024) | O/O ON L/C
11 | 220KV Narendra-Ambewadi-2 | 12:40 (09.01.2024) | 17:10 (09.01.2024) | O/O ON L/C
12 | 220KV Nagjhari-Hubli-2 | 13:25 (09.01.2024) | 15:19 (09.01.2024) | O/O ON L/C
13 | 220KV Varahi-Shimogga-2 | 17:54 (09.01.2024) | 20:15 (09.01.2024) | TRIPPED
14 | 220KV Heggunje-Varahi | 18:12 (09.01.2024) | 20:20 (09.01.2024) | TRIPPED
15 | 220KV Kemar-Puttur-1&2 | 19:31 (09.01.2024) | 20:04 (09.01.2024) | TRIPPED
16 | 220KV Kemar-Puttur-1&2 | 19:31 (09.01.2024) |  | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50