## M.I Gen & lines-09-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-09
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Hoody-Begur | 00:36 (09.04.2024) | 02:50 (09.04.2024) | TRIPPED
4 | 400kV RTPS-Raichur#2 | 09:53 (09.04.2024) | 13:41 (09.04.2024) | O/O ON LINE CLEAR
5 | 220kV Bidnal-Harthi#2 | 12:01 (09.04.2024) | 16:52 (09.04.2024) | TRIPPED
6 | 400kV Guttur-Dhoni | 14:42 (09.04.2024) | 19:45 (09.04.2024) | TRIPPED
7 | 220kV Ranebennur-S'koppa | 17:46 (09.04.2024) | 19:53 (09.04.2024) | TRIPPED
8 | 400kV Nelamangala-Mysore#2 | 18:02 (09.04.2024) | 21:41 (09.04.2024) | TRIPPED
9 | 400kV BTPS-Guttur | 18:05 (09.04.2024) |  | TRIPPED
10 | 220kV Begur-BIAL KIADB H/W Park#1&2 | 21:04 (09.04.2024) | 21:20 (09.04.2024) | HAND TRIPPED DUE HEAVY ARC
11 | 220kV Begur-BIAL D B Pura | 21:04 (09.04.2024) | 21:20 (09.04.2024) | HAND TRIPPED DUE HEAVY ARC
12 | 220kV Begur-BIAL Hoody | 21:04 (09.04.2024) |  | O/O ON LINE CLEAR
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50