## M.I Gen & lines-09-05-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-05-09
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Somanhally-Mylsandra#2/Khoday's | 10:34 (29.04.2024) | 15:47 (09.05.2024) | O/O ON LINE CLEAR | FOR 5 DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Chikkodi-Kuduchi # 2 line | 09:25 (09.05.2024) | 15:32 (09.05.2024) | O/O ON LINE CLEAR
4 | 220kV Jagalur-Thalak line | 09:55 (09.05.2024) | 15:32 (09.05.2024) | O/O ON LINE CLEAR
5 | 220kV Guttur-Davangere #1 line | 11:20 (09.05.2024) | 19:01 (09.05.2024) | O/O ON LINE CLEAR
6 | 220kV Guttur- Neelagunda line | 11:30 (09.05.2024) | 19:04 (09.05.2024) | O/O ON LINE CLEAR
7 | 220kV Guttur-Haveri #2 line | 11:37 (09.05.2024) | 19:09 (09.05.2024) | O/O ON LINE CLEAR
8 | 220kV Hoody -Shobha dreams line | 12:07 (09.05.2024) | 16:47 (09.05.2024)
9 | 220kV Lingasur-Mallat Line | 13:32 (09.05.2024) | 15:02 (09.05.2024) | TRIPPED
10 | 220kV Shimogga -STRP line | 12:20 (09.05.2024) | 13:26 (09.05.2024) | O/O ON LINE CLEAR
11 | 220kV Shimogga -Kadur line | 15:20 (09.05.2024) | 18:02 (09.05.2024) | TRIPPED
12 | 220kV Shanthigrama-Chikkamangalore line | 13:54 (09.05.2024) | 15:12 (09.05.2024) | O/O ON LINE CLEAR
13 | 220kV Hunsur-Bastipur #2 line | 16:22 (09.05.2024) | 17:23 (09.05.2024) | TRIPPED
14 | 220kV Hunsur-Kushalnagar #2 line | 16:22 (09.05.2024) | 17:23 (09.05.2024) | TRIPPED
15 | 220kV Shimogga-Varahi #1 line | 17:01 (09.05.2024) |  | TRIPPED
16 | 220kV Haveri-Guttur line #1 | 17:07 (09.05.2024) | 19:07 (09.05.2024) | O/O ON LINE CLEAR
17 | 400kV Nelmangala ICT#1 | 21:19 (09.05.2024) | 22:27 (09.05.2024) | TRIPPED
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadakola-Kanyampet | 20:41 (09.05.2024) | 07:02 (10.05.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50