## M.I Gen & lines-10-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-10
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 15:58 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U6 | 14:09 (08.01.2024) | 17:44 (10.01.2024) | O/O BOILER TUBE LEAKAGE
4 | YTPS: U2 | 10:50 (08.11.2023) |  | O/O ANNUAL OVER HAULING
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220KV Sedam-Tandur | 10:12 (09.01.2024) | 12:34 (10.01.2024) | O/O ON L/C
3 | 220kV Lingasugur-Mallat | 03:17 (10.01.2024) | 04:01 (10.01.2024) | TRIPPED
4 | 220kV Lingapur-Halvarthy#1 | 09:27 (10.01.2024) | 14:22 (10.01.2024) | O/O ON L/C
5 | 315MVA ICT-3 @ Talguppa | 09:38 (10.01.2024) | 18:49 (10.01.2024) | O/O ON L/C
6 | 500MVA ICT-3 @ Devanahally H W Park | 10:19 (10.01.2024) | 16:28 (10.01.2024) | O/O ON L/C
7 | 220kV Belgaum-Kanbargi#2 | 10:01 (10.01.2024) | 18:56 (10.01.2024) | O/O ON L/C
8 | 220kV Ambewadi-NRN#1&2 | 11:02 (10.01.2024) | 16:05 (10.01.2024) | O/O ON L/C
9 | 220kV Ambewadi-NRN#1&2 | 14:00 (10.01.2024) | 16:05 (10.01.2024) | O/O ON L/C
10 | 220Kv Hiriyur-Madhugiri | 11:56 (10.01.2024) |  | O/O ON L/C
11 | 400kV YTPS-BPS#1 | 12:26 (10.01.2024) | 16:14 (10.01.2024) | O/O ON L/C
12 | 220kV Varahi-Heggunje | 12:13 (10.01.2024) | 17:02 (10.01.2024) | TRIPPED
13 | 400kV NLM-TGP | 13:07 (10.01.2024) | 19:27 (10.01.2024) | TRIPPED
14 | 220kV DVG-Guttur#2 | 15:41 (10.01.2024) | 17:41 (10.01.2024) | O/O ON L/C
15 | 220kV Hoody-ITPL | 16:12 (10.01.2024) | 16:54 (10.01.2024) | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
40
41
42
43
44
45
46
47
48
49
50