## M.I Gen & lines-10-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-10
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | UPCL: U1 | 14:04 (01.03.2024) | 07:34 (11.03.2024) | O/O DUE TO CLINKER FORMATION IN BOILER
4 | YTPS: U1 | 20:15 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS |  | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR |  | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR |  | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR |  | 6DAYS
5 | 220kV S'hally-Khoday's | 11:15 (25.02.2024) | 17:05 (10.03.2024) | O/O ON LINE CLEAR |  | 6DAYS
6 | 220kV NRN-Bidnal | 06:02 (10.03.2024) | 13:45 (10.03.2024) | TRIPPED
7 | 220kV Lingapura-BTPS | 09:05 (09.03.2024) | 13:45 (10.03.2024) | O/O ON LINE CLEAR
8 | 220kV Chickmangalore-SMG | 08:24 (10.03.2024) | 18:39 (10.03.2024) | O/O ON LINE CLEAR
9 | 220kV Bidadi-Kotipura | 08:39 (10.03.2024) | 10:00 (10.03.2024) | O/O ON LINE CLEAR | O/O on L/C
10 | 220kV Guttur-Davanagere#1 | 11:32 (10.03.2024) | 14:16 (10.03.2024) | O/O ON LINE CLEAR
11 | 220kV KIADB-G B Noor | 14:40 (10.03.2024) | 17:47 (10.03.2024) | TRIPPED
12 | 220kV Raichur-Jurala#2 | 14:23 (10.03.2024) | 21:00 (10.03.2024) | TRIPPED
13 | 220kV Guttur-Davangere#2 | 22:27 (10.03.2024) | 00:18 (11.03.2024) | TRIPPED
14 | 220kV Guttur-Davangere#1 | 22:27 (10.03.2024) | 23:09 (11.03.2024) | TRIPPED
15 | 220kV Guttur-Davangere#3 | 22:27 (10.03.2024) | 23:11 (11.03.2024) | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50