## M.I Gen & lines-10-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-10
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Begur-BIAL Hoody | 21:04 (09.04.2024) | 13:04 (10.04.2024) | O/O ON LINE CLEAR
4 | 400kV BTPS-Guttur | 18:05 (09.04.2024) | 14:49 (10.04.2024) | TRIPPED
5 | 220kV Mylsandra-HSR | 03:12 (10.04.2024) | 12:30 (10.04.2024) | TRIPPED
6 | 220kV SGS-Sirsi#1 | 03:51 (10.04.2024) | 04:54 (10.04.2024) | TRIPPED
7 | 220kv Kolar- Malur- 3 | 15:28 (10.04.2024) | 16:47 (10.04.2024) | O/O ON LINE CLEAR
8 | 220kv SMG- A'halli | 16:40 (10.04.2024) | 19:32 (10.04.2024) | O/O ON LINE CLEAR
9 | 220kv Chikkodi- Kanagala-1 | 17:25 (10.04.2024) | 17:46 (10.04.2024) | TRIPPED
10 | 220kv Kanagala- Aques -1 | 17:25 (10.04.2024) | 18:01 (10.04.2024) | TRIPPED
11 | 220kv Kanagala- Aques -2 | 17:56 (10.04.2024) | 18:01 (10.04.2024) | TRIPPED
12 | 220kv Hubli-NRN-2 | 19:39 (10.04.2024) | 08:56 (11.04.2024) | TRIPPED
13 | 220kv NPH_ Hubli- 1 | 20:11 (10.04.2024) |  | TRIPPED
14 | 220kv NRN-Kanbargi-2 | 20:15 (10.04.2024) | 20:49 (10.04.2024) | TRIPPED
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50