## M.I Gen & lines-11-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-11
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 15:58 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | YTPS: U2 | 10:50 (08.11.2023) | 22:34 (11.01.2024) | O/O ANNUAL OVER HAULING
4 | YTPS: U2 | 03:35 (12.01.2023) |  | O/O CW PUMP TRIPPED
5 | RTPS: U6 | 00:23 (12.01.2023) | 03:36 (12.01.2023) | O/O DUE TO TRIPPED OF 400KV RTPS-BTPS LINE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 400KV RTPS-BTPS | 00:23 (11.01.2024) | 01:28 (11.01.2024) | TRIPPED
3 | 220KV Chintamani-Srinivaspura-2 | 00:49 (11.01.2024) | 02:23 (11.01.2024) | TRIPPED
4 | 220KV Chintamani-Kolar-PGCIL-1 | 00:49 (11.01.2024) | 02:19 (11.01.2024) | TRIPPED
5 | 220KV RTPS-Ramasmudra-1 | 05:01 (11.01.2024) | 05:30 (11.01.2024) | TRIPPED
6 | 220KV Hassan-Gopalpura (Suzlon) | 08:24 (11.01.2024) | 11:37 (11.01.2024) | O/O ON L/C
7 | 220KV Hassan-C R Patna (Yachenahalli) | 10:24 (11.01.2024) | 17:03 (11.01.2024) | O/O ON L/C
8 | 500MVA ICT-2 @Jagaluru | 11:07 (11.01.2024) | 15:55 (11.01.2024) | O/O ON L/C
9 | 220KV Ambewadi-Ponda-2 | 10:03 (11.01.2024) | 19:22 (11.01.2024) | O/O ON L/C
10 | 220KV Narendra-Kanbargi-1 | 11:07 (11.01.2024) | 15:55 (11.01.2024) | O/O ON L/C
11 | 220KV Belgaum-Kanbargi-1 | 10:03 (11.01.2024) | 19:22 (11.01.2024) | O/O ON L/C
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Sedam-Tandur | 11:05 (11.01.2024) | 12:34 (11.01.2024) | O/O ON P/R
2
40
41
42
43
44
45
46
47
48
49
50