## M.I Gen & lines-11-02-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-02-11
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | YTPS: U1 | 18:10 (04.02.2024) |  | O/O BOILER TUBE LEAKAGE
3 | BTPS: U2 | 00:03 (10.02.2024) |  | O/O TURBINE LUBEOIL HEADER PRESSURE DROPPING
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV EPIP-ITPL | 12:59 (30.01.2024) |  | O/O ON LINE CLEAR | 15DAYS
4 | 400kV Guttur-Kaiga # 2 line | 04:38 (11.02.2024) | 15:09 (11.02.2024) | TRIPPED
5 | 400kV Kaiga-Guttur#1 | 10:34 (11.02.2024) | 14:52 (11.02.2024) | O/O ON LINE CLEAR
6 | 220kV Kibbanahalli-SMG | 02:31 (11.02.2024) | 03:01 (11.02.2024) | TRIPPED
7 | 220kV Ambewadi-NPH#2 | 06:38 (11.02.2024) | 10:55 (11.02.2024) | TRIPPED
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV SMG-Chikkamaglore | 08:36 (11.02.2024) | 18:00 (11.02.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50