## M.I Gen & lines-11-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-11
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | UPCL: U1 | 14:04 (01.03.2024) | 07:34 (11.03.2024) | O/O DUE TO CLINKER FORMATION IN BOILER
4 | YTPS: U1 | 20:15 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U2 | 17:24 (11.03.2024) | 21:16 (11.03.2024) | O/O FLAME FAILURE
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 6DAYS
5 | 220kV Peenya-S'pura | 11:18 (11.03.2024) | 13:37 (11.03.2024) | O/O ON LINE CLEAR
6 | 220kV Gadag-Harthi#1 | 11:47 (11.03.2024) | 15:25 (11.03.2024) | O/O ON LINE CLEAR
7 | 220kV Guttur-Davangere#2&3 | 12:21 (11.03.2024) | 12:49 (11.03.2024) | TRIPPED
8 | 220kV Guttur-Davangere#2&3 | 12:21 (11.03.2024) | 12:51 (11.03.2024) | TRIPPED
9 | 220kV Guttur-Chitradurga | 14:00 (11.03.2024) | 14:50 (11.03.2024) | TRIPPED
10 | 220kV Nelamagala-Nittur | 14:35 (11.03.2024) | 15:52 (11.03.2024) | TRIPPED
11 | 220kV M L Pura-Kudachi | 14:45 (11.03.2024) | 19:06 (11.03.2024) | O/O ON LINE CLEAR
12 | 220kV Gadag-Harthi#2 | 15:35 (11.03.2024) | 18:08 (11.03.2024) | O/O ON LINE CLEAR
13 | 400kV Nelamangala-Talguppa | 17:18 (11.03.2024) | 19:21 (11.03.2024) | TRIPPED
14 | 220kV SMG-A'halli | 19:24 (11.03.2024) | 19:38 (11.03.2024) | TRIPPED
15 | 400kV TGP-Shantigrama | 17:24 (11.03.2024) | 19:13 (11.03.2024) | TRIPPED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50