## M.I Gen & lines-11-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-11
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kv NPH_ Hubli- 1 | 20:11 (10.04.2024) |  | TRIPPED
4 | 220kV Chikkodi-Kanagala#1 | 08:15 (11.04.2024) | 08:27 (11.04.2024) | TRIPPED
5 | 220kV Kadkola-Bastipura#2 | 11:17 (11.04.2024) | 11:47 (11.04.2024) | TRIPPED
6 | 220kV Hubli-Sirsi#2 | 11:37 (11.04.2024) | 15:09 (11.04.2024) | TRIPPED
7 | 220kV Madhuvanahally-Wardha solar | 15:32 (11.04.2024) | 16:22 (11.04.2024) | TRIPPED
8 | 220kV ADPH-Bagalkote#2 | 17:52 (11.04.2024) | 18:34 (11.04.2024) | TRIPPED
9 | 220kV Kalburgi-Nimbarga#1&2 | 17:42 (11.04.2024) |  | TRIPPED
10 | 220kV Kalburgi-Nimbarga#1&2 | 17:48 (11.04.2024) |  | TRIPPED
11 | 220kV Sedam-Ferozabad | 18:52 (11.04.2024) | 20:02 (11.04.2024) | TRIPPED
12 | 220kV Lingasugur-Shahpur | 19:23 (11.04.2024) |  | TRIPPED
13 | 220kV ADPH-Bagalkote#1 | 17:03 (11.04.2024) |  | TRIPPED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50