## M.I Gen & lines-12-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-12
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | YTPS: U1 | 20:15 (02.03.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV S'hally-Mylsandra#2 | 11:12 (25.02.2024) |  | O/O ON LINE CLEAR | 6DAYS
5 | 400kV Guttur station( with all lines ) | 07:18 (12.03.2024) | 08:10 (12.03.2024) | BUS DEAD
6 | 400kV BTPS-Guttur | 07:18 (12.03.2024) | 10:26 (12.03.2024) | TRIPPED
7 | 220kV Gadag-Bagalkote#1 | 10:13 (12.03.2024) | 12:47 (12.03.2024) | O/O ON LINE CLEAR
8 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
9 | 220kV Gadag-Bagalkote#2 | 12:47 (12.03.2024) | 16:11 (12.03.2024) | O/O ON LINE CLEAR
10 | 220kV Chintamani-Srinivaspura#2 | 11:55 (12.03.2024) | 13:16 (12.03.2024) | O/O ON LINE CLEAR
11 | 220kV Guttur-Haveri#2 | 11:36 (12.03.2024) | 13:40 (12.03.2024) | O/O ON LINE CLEAR
12 | 220kV Chintamani-Srinivaspura#1 | 13:39 (12.03.2024) | 14:26 (12.03.2024) | O/O ON LINE CLEAR
13 | 220kV Gadag-Dhoni#1 | 16:28 (12.03.2024) | 18:41 (12.03.2024) | O/O ON LINE CLEAR
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50