## M.I Gen & lines-12-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-12
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U5 | 09:04 (12.04.2024) |  | O/O BOILER TUBE LEAKAGE
3
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kv NPH_ Hubli- 1 | 20:11 (10.04.2024) |  | TRIPPED
4 | 220kV ADPH-Bagalkote#1 | 17:03 (11.04.2024) | 13:47 (12.04.2024) | TRIPPED
5 | 220kV Kalburgi-Nimbarga#1&2 | 17:42 (11.04.2024) |  | TRIPPED
6 | 220kV Kalburgi-Nimbarga#1&2 | 17:48 (11.04.2024) |  | TRIPPED
7 | 220kV Lingasugur-Shahpur | 19:23 (11.04.2024) |  | TRIPPED
8 | 220kV Kadakola - Kanyam pete line | 20:13 (12.04.2024) | 07:58 (12.04.2024) | TRIPPED
9 | 220kV Sedam-Ramasamudra#1 | 08:20 (12.04.2024) | 11:25 (12.04.2024) | O/O ON LINE CLEAR
10 | 220kV Sedam-Ramasamudra#2 | 11:41 (12.04.2024) | 13:04 (12.04.2024) | O/O ON LINE CLEAR
11 | 220kV Hoody-Malur | 08:33 (12.04.2024) | 09:31 (12.04.2024) | TRIPPED
12 | 220kV ADPH-Bagalkote#2 | 09:22 (12.04.2024) | 13:47 (12.04.2024) | O/O ON LINE CLEAR
13 | 220kV Kushtagi-Gangavathi | 10:05 (12.04.2024) | 10:55 (12.04.2024) | HAND TRIPPED
14 | 220kV Kushtagi-Lingasugur | 10:15 (12.04.2024) | 10:53 (12.04.2024) | BUS DEAD
15 | 220kVHubli-Sirsi line #2 | 14:04 (12.04.2024) | 16:43 (12.04.2024) | TRIPPED
16 | 220kV Varahi-Shimogga #3 line | 15:09 (12.04.2024) | 17:22 (12.04.2024) | TRIPPED
17 | 220kV Hubli-Nagajari line 1 | 15:39 (12.04.2024) | 16:49 (12.04.2024) | TRIPPED
18 | 220kV Hubli-Nagajari line 3 | 15:48 (12.04.2024) | 16:49 (12.04.2024) | TRIPPED
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV B bagewadi- G M Navar line 1&2 | 10:10 (12.04.2024) | 13:02 (12.04.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50