## M.I Gen & lines-13-01-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-01-13
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 15:58 (08.01.2024) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
3 | RTPS: U6 | 14:08 (13.01.2024) |  | O/O BOILER TUBE LEAKAGE
4
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON L/C | 72DAYS
2 | 220kV RTPS-Mallat | 03:04 (13.01.2024) | 04:14 (13.01.2024) | TRIPPED
3 | 220kV Belgaum-Kanabargi#1 | 09:40 (13.01.2024) | 17:28 (13.01.2024) | O/O ON L/C
4 | 220kV Sharavathy-Shimoga#3 | 10:03 (13.01.2024) |  | O/O ON L/C
5 | 220kV Hubli-Narendra#2 | 13:18 (13.01.2024) | 18:27 (13.01.2024) | TRIPPED
6 | 315MVA ICT#1@400kV Guttur | 16:14 (13.01.2024) | 16:40 (13.01.2024) | TRIPPED
7 | 220kV Davanagere-Honnali#2 | 16:52 (13.01.2024) | 17:58 (13.01.2024) | TRIPPED
8 | 220kV SMG-SGS#4 | 15:09 (13.01.2024) |  | TRIPPED
9 | 220kV VPH-SMG#1 | 18:24 (13.01.2024) |  | TRIPPED
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220KV Sedam-Tandur | 11:05 (11.01.2024) | 12:34 (11.01.2024) | O/O ON P/R
2
40
41
42
43
44
45
46
47
48
49
50