## M.I Gen & lines-13-04-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-04-13
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U5 | 09:04 (12.04.2024) | 04:00 (13.04.2024) | O/O BOILER TUBE LEAKAGE
3 | BTPS: U2 | 18:05 (13.04.2024) | 00:37 (14.04.2024) | O/O FIRE IN STATION TRANSFORMERS
4 | BTPS: U3 | 18:05 (13.04.2024) | 00:59 (14.04.2024) | O/O FIRE IN STATION TRANSFORMERS
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR
3 | 220kV Kalburgi-Nimbarga#1&2 | 17:42 (11.04.2024) |  | TRIPPED
4 | 220kV Kalburgi-Nimbarga#1&2 | 17:48 (11.04.2024) |  | TRIPPED
5 | 220kV Lingasugur-Shahpur | 19:23 (11.04.2024) |  | TRIPPED
6 | 220kV Guttur-Neelgunda line | 06:03 (13.04.2024) | 12:12 (13.04.2024) | TRIPPED
7 | 400kV RTPS-Munirabad | 09:57 (13.04.2024) | 13:29 (13.04.2024) | O/O ON LINE CLEAR
8 | 220kV Guttur-Davangere line #1 | 10:27 (13.04.2024) | 13:45 (13.04.2024) | O/O ON LINE CLEAR
9 | 400kV BPS-Jagalur line #1 | 11:50 (13.04.2024) | 15:18 (13.04.2024) | O/O ON LINE CLEAR
10 | 400kV BTPS-RTPS line | 13:30 (13.04.2024) | 14:50 (13.04.2024) | TRIPPED
11 | 220kV Sira-G B Nur # 1&2 line | 12:37 (13.04.2024) | 13:36 (13.04.2024) | TRIPPED
12 | 220kV Sira-G B Nur # 1&2 line | 17:01 (13.04.2024) | 19:32 (13.04.2024) | TRIPPED
13 | 220kV Kemar-Puttur line 1&2 | 20:35 (13.04.2024) | 20:55 (13.04.2024) | TRIPPED
14 | 220kV GB Nur-Madhugiri line | 12:37 (13.04.2024) | 13:20 (13.04.2024) | TRIPPED
15 | 220kV Shimogga- Chikkamangalore | 16:14 (13.04.2024) | 20:11 (13.04.2024) | TRIPPED
16 | 400kV Kolar-Hoody line #1 | 13:05 (13.04.2024) | 14:57 (13.04.2024) | O/O ON LINE CLEAR
17 | 400kV Guttur-Dhoni line | 14:56 (13.04.2024) | 17:27 (13.04.2024) | TRIPPED
18 | 400kV BTPS-Hiriyur#2 line | 13:30 (13.04.2024) | 14:05 (13.04.2024) | TRIPPED
19 | 400kV BTPS-Guttur line | 17:27 (13.04.2024) |  | TRIPPED
20 | 220kV NPH-Bidnal line | 14:15 (13.04.2024) | 15:27 (13.04.2024) | TRIPPED
21 | 220kV Sindhanur-Gangavathi line | 14:40 (13.04.2024) | 15:05 (13.04.2024) | TRIPPED
22 | 220kV Sindhanur-Lingasugur line | 14:40 (13.04.2024) | 15:07 (13.04.2024) | TRIPPED
23 | 220kV Gopalapura-Tubinakere line | 18:10 (13.04.2024) | 19:47 (13.04.2024) | TRIPPED
24 | 220kV Gopalapura-Shanthigrama line | 18:10 (13.04.2024) | 20:28 (13.04.2024) | TRIPPED
25 | 220kV Gopalapura-HN pura line 1&2 | 18:10 (13.04.2024) | 19:47 (13.04.2024) | TRIPPED
26 | 220kV UPCl -Kemar #1 line | 18:26 (13.04.2024) | 21:52 (13.04.2024) | TRIPPED
27 | 220kV UPCl -Kemar #2 line | 18:26 (13.04.2024) | 18:58 (13.04.2024) | TRIPPED
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1 | 220kV Kadkola-K betta line | 20:47 (13.04.2024) | 07:53 (14.04.2024) | O/O ON P/R
2
3
40
41
42
43
44
45
46
47
48
49
50