## M.I Gen & lines-14-03-2024
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2024-03-14
Sl.NO | GENERATING UNITS | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O COAL HANDLING ISSUE (BUNKER COLLAPSED)
2 | RTPS: U3 | 02:18 (18.02.2024) |  | O/O ANNUAL OVER HAULING
3 | YTPS: U1 | 20:15 (02.03.2024) | 14:23 (14.03.2024) | O/O BOILER TUBE LEAKAGE
4 | RTPS: U2 | 07:06 (14.03.2024) |  | O/O BOILER TUBE LEAKAGE
5
6
7
8
9
10
11
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220KV Savadatti-Bidnal | 06:20 (20.12.2023) |  | O/O ON LINE CLEAR | 72DAYS
2 | 400KV BUS-2 @RTPS | 11:00 (22.01.2024) |  | O/O ON LINE CLEAR | 9 DAYS
3 | 220kV Y'hally-Hosur | 16:31 (24.02.2024) |  | TRIPPED
4 | 220kV M L Pura-Savadatti | 10:00 (12.03.2024) |  | O/O ON LINE CLEAR
5 | 220kV Haveri-Guttur#1 | 12:10 (14.03.2024) | 15:40 (14.03.2024) | O/O ON LINE CLEAR
6 | 220kV Sirsi-Hubli#1 | 12:41 (14.03.2024) | 15:24 (14.03.2024) | O/O ON LINE CLEAR
7 | 220kV Kalburgi-Kapnoor | 13:01 (14.03.2024) | 16:01 (14.03.2024) | TRIPPED
8 | 220kV Shimoga-Arasikere | 13:58 (14.03.2024) | 15:12 (14.03.2024) | TRIPPED
9 | 220kV Shimoga-Arasikere | 15:35 (14.03.2024) | 17:21 (14.03.2024) | TRIPPED
10 | 220kV Kadur-Dabaspet | 14:00 (14.03.2024) | 17:15 (14.03.2024) | TRIPPED
11 | 220kV Gadag-Doni#1 | 16:07 (14.03.2024) | 18:51 (14.03.2024) | O/O ON LINE CLEAR
12 | 220kV Haveri-Shiggaon#1 | 17:15 (14.03.2024) | 18:52 (14.03.2024) | O/O ON LINE CLEAR
13 | 220kV Shimoga-A'halli | 18:05 (14.03.2024) | 20:27 (14.03.2024) | O/O ON LINE CLEAR
14 | 220kV Bagalkote-ADPH#1 | 18:32 (14.03.2024) | 19:05 (14.03.2024) | TRIPPED
15 | 220kV Haveri-Shiggaon#2 | 23:28 (14.03.2024) |  | O/O ON LINE CLEAR
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
LINE OPENS DUE TO POWER REGULATION/OVER VOLTAGE
1
2
3
40
41
42
43
44
45
46
47
48
49
50